JEP62/2025
	DESCRIPTION
	USD
	 

	1000A 
	1,611.00
	TAKRITI EST./chint/China

	1600A 
	1,990.00
	

	2500 A
	3,084.00
	


JEP7/2026

	ITEM
	
	QTY.
	

	
	
	
	

	2.
	cable breakouts suitable for 4X(50-120mm2) LV CABLES.
	1.563 $
	

	3.
	suitable for 4X(150-240mm2) cableS.
	2.075 $
	

	5.
	600/1000 V, Heat shrinkable adhesive tubes, R Y B colours, UV resistant, range of 25.4/8.5mm, 2mm Min. thickness suitable for cables 4x(50-120mm2)
	$1.438/METER
	


	6.
	600/1000 V, Heat shrinkable adhesive tubes, R Y B colours, UV resistant, range of 39/13.5mm, 2mm Min. thickness suitable for cables 4x(150-240mm2). 
	$2.774 /METER
	


JEP8/2026

	DESCRIPTION
	
	

	TUBULAR STAY ROD 
	12.21 $
	ELECTRIC POWERTEK COMPANY

July, 2024

	FORGED GALVANIZED STEEL, 18" TOTAL LENGTH (FOLDED SHAPE), ¾" DIAMETER JAW-EYE TURNBUCKLES 
	5.58 $
	

	7/4.00MM HOT DIPPED GALVANIZED STAY WIRE
	890$/KM
	HEBEI YIPENG LINE EQUIPMENT

	1240MM HOT DIPPED GALVANIZED STEEL PREFORMED STAY GRIPS
	1.87 $
	ANISH WIRES & CONDUCTORS


JEP 9/2026

	Anchoring Clamp 
	3.71$
	SHANGHAI JIAMENG INTERNATIONAL TRADING CO.  LTD.  (MELEC)

July, 2024


JEP19/2026

	DESCRIPTION
	km
	Cu at 9,000.00 US $ / MT

	FIBER OPTIC CABLE, SUITABLE FOR DIRECT BURIED INSTALLATION ALONG WITH MEDIUM VOLTAGE POWER CABLE (96 optical fiber)
	1,149.00 $
	RIYADH CABLES

December, 2024

	1/0.9mm COPPER CONDUCTOR 19 PAIRS, MULTIPAIR PE/PE/WBT & SWA/PVC GRAPHITE COATED CABLE
	6,950.00$
	

	15KV INDUCED VOLTAGE PILOT CABLE (COMPOSITE 48 OPTICAL FIBERS AND 19-PAIR MULTIPAIR CABLE) 
	6,557.00$
	


JEP22/2026

	DESCRIPTION


	
	

	36 kV, SiliconE composite tension insulator 
	8.21$
	WENZHOU YIKUN ELECTRIC
July, 2024


